## Slide 1: Making videos of stochastic moving bar

## Slide 2
mea_size=503; %there are 503 x 503 pixels on the monitor, which corresponds to the mea region
mea_size_bm=541; %bigger mea size , from luminance calibrated region
meaCenter_x=630; % the center of the mea region in the monitor
meaCenter_y=573; % the center of the mea region in the monitor
leftx_bm=meaCenter_x-(mea_size_bm-1)/2; %the first x position of the bigger mea region(luminance calibrated region) on monitor
lefty_bm=meaCenter_y-(mea_size_bm-1)/2;

## Slide 3
bar_le=(mea_size-1)/2=251 pixels; %half of bar length / pixel number on LCD /total length = mea_size = 1919 um
bar_wid=11 pixels; %half of bar width / total length = 23 pixels = 65 um

## Slide 4: clean_LED
The luminance matrix after luminance calibration (value: 0~255)
When making videos, need to make the value ranging from 0~1 since the usage of “imwrite” function

## Slide 5: dotPositionMatrix
The coordination for 64 dots on the monitor
P.s. not the same as the mea region
mea region
The region for luminance calibration
matrix “clean_LED” corresponds to this region
Mea region > relate to channel_map

## Slide 6: Calibration: ideal_pt and detect_pt
detect_pt: the coordination of 64 dots from the recording of ccd
ideal_pt: use the center 4 points from the detect_pt, then reconstructed the ideal coordination of 64 points for ccd recording

## Slide 7
x_error(y_error): the error(distance: um) between ideal_pt and detect_pt of ccd recording
x_error2(y_error2): the x_error is transformed to the error of pixel numbers on the monitor
x_error3(y_error3): value in x_error2(y_error2) subtracted by 1 pixel

## Slide 8
y_error02
% 1 1 1 0 1 1 0 1
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% -2 0 0 0 0 0 0 0
% -3 -2 -2 -2 0 -2 0 -2
x_error02
% 2 1 0 0 0 0 0 0
% 2 1 0 0 0 0 0 0
% 2 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 2 1 0 0 0 0 0 0
% 2 1 0 0 0 0 0 0

## Slide 9
y_error03
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% -1 0 0 0 0 0 0 0
% -2 -1 -1 -1 0 -1 0 -1
x_error03
% 1 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 0 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0
% 1 0 0 0 0 0 0 0

## Slide 10: clean_LEDdiag make the calibrated luminance matrix for diagonal moving bar
clean_LED
clean_LEDdiag

## Slide 11: for diagonal moving bar
Bar half length = 251 pixels
177 pixels
177 pixels
Bar half width = 11 pixels
8 pixels
8 pixels